| № | Name | Technical specifications | Unit. | Quantity |
| --- | --- | --- | --- | --- |
|  | Convector not less than 1000 W, not more than 2000 W. | Maximum power: 2000 W Temperature control Type of thermostat Electronic Timer not less than 10 seconds and not more than 60 minutes. Installation options: wall-mounted, Control Type: Electronic Electrical parameters not less than specified in the technical documentation. Electrical Supply: 1 phase, 220 ~ 240 V Protective functions: protection not less than specified shutdown upon tipping over, shutdown not more than due to overheating Degree not less than 95% by volume protection: not less than less than IP24 | pcs | 22 |
|  | Convector not less than 1000 W, not more than 2000 W. | Maximum power:1500 W Control: electronic Timer not less than 10 seconds and not more than 60 minutes. Variants not less than 2 not more than 5 installation: wall-mounted , floor - mounted Degree not less than 95% by volume protection: not less than less than IP24 Protective functions: protection against overheating, shut-off when tipped over Voltage:220 - 240 V | pcs | 15 |
|  | LED lamp not less than ceiling-mounted Armstrong not less than 25 mm thick | Power not less than 36 W Degree of dust and watertightness not less than IPX4 not less than IP40 Voltage 180 - 265 V Lamp type LED Color temperature 5000 - 6000 K Purpose Office-use Dimensions: 595 x595x40 ± 3 mm | pcs | 53 |
|  | LED outdoor light SD DKU-not less than 03 or equivalent not less than | Power not less than 120 W Luminous flux, lm: not less than 15000 Color temperature, K 5000 - 6000 Ingress protection rating, not less than IP65 Nominal voltage: 207 - 253 V Operating temperature: from -40 to +45 °C Bracket for mounting, not less than 100 mm in length, not more than 5 kg in weight. | pcs | 111 |
|  | Boxbot LED street spotlight, 50 W, 6500K, IP65 or equivalent | Power not less than 50 W Illuminated area not less than 110 m2 Color temperature 6500 - 7000 K Voltage 170 - 240 V B not less than 50 not more than 70 pitch not more than 10% Dust and water protection not less than IP65 Electrical safety class I Luminous flux not less than 4400 lm Color rendering index 70 - 75 Ra Beam angle 110 - 115 ° | pcs | 20 |
|  | LED luminaire SPO or equivalent not less than | Type of attachment not more than cladding not less than 6 mm not more than 8 mm Type wall-mounted/ceiling-mounted Lighting power: not less than specified value, not more than specified value not less than 36 W Type of lamp: built-in LEDs Lamp included not more than in the kit. Supply voltage not less than X V, not more than Y V 220 V Luminaire length 1200 ± 5 mm Luminaire width 63 ± 2 mm Luminous flux not less than 4000 lm Protection from dust and moisture shall be not less than IP20 Color temperature 6500 - 7000 K Dustproof Operating temperature not less than -40°C, not more than 85°C from -40 to +40 °C Diffuser type prism not less than 10 mm in height, not more than 50 mm in length, and not more than 20 mm in width | pcs | 60 |
|  | Lamp LED | Type of base: E27 Power: not less than less than 9 W Color temperature not less than 4000K and not more than 6500K , K 4000 - 5000 Supply voltage, V 175-265 | pcs | 250 |
|  | Cable type: BVV-3x2.5 not less than | ISO 31996:2012 | m | 52 |
|  | Carbide distribution box with 4 outlets for external installation not less than specified | Length: 95± 2 mm. Width: 95± 2 mm. Depth: 40± 5 mm. Number of inputs: not less than 4. Ingress protection rating not less than IP55. Air intake not more than 100% of nominal value not less than 95%. | pcs. | 5 |
|  | Electric socket Hit RA16-133 or equivalent | Single outlet with earth contact, open installation, not more than 16A, 220V | pcs | 27 |